|  |
| --- |
| **Section 5 Treatment and Recovery Areas** |

This part to be photocopied for the appropriate number of treatment and recovery areas in the practice.

|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Practice/clinic name:** | |  | | | | | | | | | |
| **Treatment/recovery area number:** | |  | | | | | | | | | |
|  | | | | | | | | | | | |
| **Type of area inspected:** |  | Treatment | | |  | Recovery | | | | |  |
|  | | | | | | | | | | | |
| **Type of treatment area:** |  | IS | |  | | | IVS | |  | Other (please state below) | |
|  | | | | | | | | | | | |
|  | | | Other: | | | | |  | | | |

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **A. Facilities** | | | **Yes** |  | **No** |  | **Information Sources** |  | **Comments** |
| 1 | A | There is access for emergency services to the area…………………….............. |  |  |  |  | Section 2.1, CSD |  |  |
| 2 | A | There is adequate access for the clinical team around the chair to deal with medical emergencies and sedation-related complications…...........................… |  |  |  |  |  |
| 3 | A | There is good lighting in the area……………………………………….............….. |  |  |  |  |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **B. Unit/chair** | | | | | | **Yes** |  | **No** |  | **Information Sources** |  | **Comments** |
|  | | | | | | | | | | Domain F, SAAD Checklist |  |  |
| 1 | A | The dental chair can be rapidly moved to a head-down tilt position......................................................................................... | **N/A** |  |  |  |  |  |  |  |
|  | | | | | | | | | |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **C. Sedation equipment** | | | | | | **Yes** |  | **No** |  | **Information Sources** |  | **Comments** |
|  |  | **NIBP monitor** | | | |  |  |  |  | Section 2.1.2, CSD |  |  |
| 1 | A | Non invasive blood pressure monitor.................................................................. | | | |  |  |  |  |  |
| 2 | A | Maintained in accordance with manufacturer’s instructions..………................... | | | |  |  |  |  |  |
|  |  | **Pulse oximeter**........................................................................... | **N/A** |  |  |  |  |  |  |  |
| 3 | A | Continuous pulse oximeter is available for use prior to and during treatment under sedation and has an audible alarm**\***.......................................................... | | | |  |  |  |  |  |
| 4 | A | There is a calibration and/or service history according to the manufacturer’s instructions for the pulse oximeter………………......…........................................ | | | |  |  |  |  |  |
| 5 | A | Last service date of the pulse oximeter: (certificate required)....................................................................................... |  | | |  |  |  |  |  |
| 6 | A | **Inhalation sedation**.................................................................... | **N/A** |  |  |  |  |  |  | Section 2.1.1, CSD |  |
| 7 | A | The dedicated, purpose-designed IS machine has: | | | |  |  |  |  |  |
| 8 | A | * a minimum delivery of 30% oxygen........................................................ | | | |  |  |  |  |  |
| 9 | A | * an emergency N2O cut off...................................................................... | | | |  |  |  |  |  |
| 10 | A | There is a calibration and service history according the manufacturer’s instructions for the IS machine…………………..…….......................................... | | | |  |  |  |  |  |
| 11 | A | Last service date of the IS machine: (certificate required)........... |  | | |  |  |  |  |  |
| 12 | A | **Gases**.......................................................................................... | **N/A** |  |  |  |  |  |  | Section 2.1.1, CSD  Domain F, SAAD Checklist |  |
| 13 | A | Gas cylinders are stored safely and securely according to current safety requirements………………………………………………………............................ | | | |  |  |  |  |  |
| 14 | A | Central gas supply system in date and serviced…….................. | **N/A** |  |  |  |  |  |  |  |
| 15 | A | Last service date of the central gas supply: (certificate required)....................................................................................... |  | | |  |  |  |  |  |
| 16 | A | A record is kept of checks made by a suitably trained and qualified member of staff prior to each session…………………………………..................................... | | | |  |  |  |  |  |
| \*Pulse oximeter with clearly visible display preferred. | | | | | | | | | | | | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **C. Sedation equipment (*continued*)** | | | | | | **Yes** |  | **No** |  | **Information Sources** |  | **Comments** |
| 17 | A | **Equipment for use with advanced techniques\*\*** | **N/A** |  |  |  |  |  |  | Domain F, SAAD Checklist |  |  |
| 18 | A | ECG……………………………………………………...................... | **N/A** |  |  |  |  |  |  |  |
| 19 | A | * Maintained, serviced and calibrated according to manufacturer’s instructions.............................................................................................. | | | |  |  |  |  |  |
| 20 | A | Capnography…………………………………………….................. | **N/A** |  |  |  |  |  |  |  |
| 21 | A | * Maintained, serviced and calibrated according to manufacturer’s instructions.............................................................................................. | | | |  |  |  |  |  |
| 22 | A | Syringe driver…………………………………………….................. | **N/A** |  |  |  |  |  |  |  |
| 23 | A | * Maintained, serviced and calibrated according to manufacturer's instructions.............................................................................................. | | | |  |  |  |  |  |
| 24 | A | Mucosal atomisation device……………………………................. | **N/A** |  |  |  |  |  |  |  |
| \*\*Currently NHS Scotland does not permit advanced sedation techniques in NHS General Dental Practice. | | | | | | | | | | | | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **D. Sedation drugs** | | | | | | **Yes** |  | **No** |  | **Information Sources** |  | **Comments** |
| 1 | A | Midazolam (5mg/5ml strength**\***)................................................... | **N/A** |  |  |  |  |  |  | Section 2.1.1, CSD |  |  |
| 2 | A | Flumazenil (0.5mg/5ml) (if benzodiazepines are used)**\*\***............. | **N/A** |  |  |  |  |  |  |  |
| 3 | A | Other drug(s)\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_...... | **N/A** |  |  |  |  |  |  |  |
|  |  | The sedation drugs recorded above are: | | | |  |  |  |  |  |
| 4 | A | * stored safely………………………………………………………................ | | | |  |  |  |  |  |
| 5 | A | * in date - stocks checked regularly and checks logged………................. | | | |  |  |  |  |  |
| 6 | A | Drug labels available for syringes................................................ | **N/A** |  |  |  |  |  |  |  |
| 7 | A | Cannulae for IV access................................................................. | **N/A** |  |  |  |  |  |  |  |
| 8 | A | Supplemental oxygen is available and can be given, if required.. | **N/A** |  |  |  |  |  |  |  |
| 9 | A | Pocket masks with oxygen port**\*\*\***................................................ | **N/A** |  |  |  |  |  |  |  |
| \* N.B. This is a lower concentration of midazolam than required for oromucosal administration. See Section 2D Item 10. | | | | | | | | | | | | |
| \*\* See Section 2D Item 14 and footnote \*\*. \*\*\* See Section 2D Item 19 and footnote \*\*\*. | | | | | | | | | | | | |