# Section 5 Treatment and Recovery Areas

This part to be photocopied for the appropriate number of treatment and recovery areas in the practice.

| Practice/clinic name: |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Treatment/recovery area number: |  |  |  |  |  |  |  |  |  |  |  |
| Type of area inspected: |  | Treatment |  |  |  | Recovery |  |  |  |  |  |
| Type of treatment area: |  | IS |  |  |  |  | IVS |  |  | Other (please state below) |  |
|  |  |  | Other: |  |  |  |  |  |  |  |  |

| A. Facilities |  |  | Yes |  | No |  | Information Sources |  | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | A | There is access for emergency services to the area…………………….............. |  |  |  |  | Section 2.1, CSD |  |  |
| 2 | A | There is adequate access for the clinical team around the chair to deal with medical emergencies and sedation-related complications…...........................… |  |  |  |  |  |  |  |
| 3 | A | There is good lighting in the area……………………………………….............….. |  |  |  |  |  |  |  |

| B. Unit/chair |  |  |  |  |  | Yes |  | No |  | Information Sources |  | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  | Domain F, SAAD Checklist |  |  |
| 1 | A | The dental chair can be rapidly moved to a head-down tilt position......................................................................................... | N/A |  |  |  |  |  |  |  |  |  |

| C. Sedation equipment |  |  |  |  |  | Yes |  | No |  | Information Sources |  | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | NIBP monitor |  |  |  |  |  |  |  | Section 2.1.2, CSD |  |  |
| 1 | A | Non invasive blood pressure monitor.................................................................. |  |  |  |  |  |  |  |  |  |  |
| 2 | A | Maintained in accordance with manufacturer’s instructions..………................... |  |  |  |  |  |  |  |  |  |  |
|  |  | Pulse oximeter........................................................................... | N/A |  |  |  |  |  |  |  |  |  |
| 3 | A | Continuous pulse oximeter is available for use prior to and during treatment under sedation and has an audible alarm*.......................................................... |  |  |  |  |  |  |  |  |  |  |
| 4 | A | There is a calibration and/or service history according to the manufacturer’s instructions for the pulse oximeter………………......…........................................ |  |  |  |  |  |  |  |  |  |  |
| 5 | A | Last service date of the pulse oximeter: (certificate required)....................................................................................... |  |  |  |  |  |  |  |  |  |  |
| 6 | A | ### Inhalation sedation.................................................................... | N/A |  |  |  |  |  |  | Section 2.1.1, CSD |  |  |
| 7 | A | The dedicated, purpose-designed IS machine has: |  |  |  |  |  |  |  |  |  |  |
| 8 | A | - a minimum delivery of 30% oxygen........................................................ |  |  |  |  |  |  |  |  |  |  |
| 9 | A | - an emergency N2O cut off...................................................................... |  |  |  |  |  |  |  |  |  |  |
| 10 | A | There is a calibration and service history according the manufacturer’s instructions for the IS machine…………………..…….......................................... |  |  |  |  |  |  |  |  |  |  |
| 11 | A | Last service date of the IS machine: (certificate required)........... |  |  |  |  |  |  |  |  |  |  |
| 12 | A | Gases.......................................................................................... | N/A |  |  |  |  |  |  | Section 2.1.1, CSD Domain F, SAAD Checklist |  |  |
| 13 | A | Gas cylinders are stored safely and securely according to current safety requirements………………………………………………………............................ |  |  |  |  |  |  |  |  |  |  |
| 14 | A | - Central gas supply system in date and serviced…….................. | N/A |  |  |  |  |  |  |  |  |  |
| 15 | A | Last service date of the central gas supply: (certificate required)....................................................................................... |  |  |  |  |  |  |  |  |  |  |
| 16 | A | A record is kept of checks made by a suitably trained and qualified member of staff prior to each session…………………………………..................................... |  |  |  |  |  |  |  |  |  |  |
| *Pulse oximeter with clearly visible display preferred. |  |  |  |  |  |  |  |  |  |  |  |  |

| C. Sedation equipment (continued) |  |  |  |  |  | Yes |  | No |  | Information Sources |  | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 17 | A | Equipment for use with advanced techniques** | N/A |  |  |  |  |  |  | Domain F, SAAD Checklist |  |  |
| 18 | A | ECG……………………………………………………...................... | N/A |  |  |  |  |  |  |  |  |  |
| 19 | A | - Maintained, serviced and calibrated according to manufacturer’s instructions.............................................................................................. |  |  |  |  |  |  |  |  |  |  |
| 20 | A | Capnography…………………………………………….................. | N/A |  |  |  |  |  |  |  |  |  |
| 21 | A | - Maintained, serviced and calibrated according to manufacturer’s instructions.............................................................................................. |  |  |  |  |  |  |  |  |  |  |
| 22 | A | Syringe driver…………………………………………….................. | N/A |  |  |  |  |  |  |  |  |  |
| 23 | A | - Maintained, serviced and calibrated according to manufacturer's instructions.............................................................................................. |  |  |  |  |  |  |  |  |  |  |
| 24 | A | Mucosal atomisation device……………………………................. | N/A |  |  |  |  |  |  |  |  |  |
| **Currently NHS Scotland does not permit advanced sedation techniques in NHS General Dental Practice. |  |  |  |  |  |  |  |  |  |  |  |  |

| D. Sedation drugs |  |  |  |  |  | Yes |  | No |  | Information Sources |  | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | A | ### Midazolam (5mg/5ml strength*)................................................... | N/A |  |  |  |  |  |  | Section 2.1.1, CSD |  |  |
| 2 | A | ### Flumazenil (0.5mg/5ml) (if benzodiazepines are used)**............. | N/A |  |  |  |  |  |  |  |  |  |
| 3 | A | ### Other drug(s)_____________________________________...... | N/A |  |  |  |  |  |  |  |  |  |
|  |  | The sedation drugs recorded above are: |  |  |  |  |  |  |  |  |  |  |
| 4 | A | - stored safely………………………………………………………................ |  |  |  |  |  |  |  |  |  |  |
| 5 | A | - in date - stocks checked regularly and checks logged………................. |  |  |  |  |  |  |  |  |  |  |
| 6 | A | ### Drug labels available for syringes................................................ | N/A |  |  |  |  |  |  |  |  |  |
| 7 | A | ### Cannulae for IV access................................................................. | N/A |  |  |  |  |  |  |  |  |  |
| 8 | A | Supplemental oxygen is available and can be given, if required.. | N/A |  |  |  |  |  |  |  |  |  |
| 9 | A | Pocket masks with oxygen port***................................................ | N/A |  |  |  |  |  |  |  |  |  |
| * N.B. This is a lower concentration of midazolam than required for oromucosal administration. See Section 2D Item 10. |  |  |  |  |  |  |  |  |  |  |  |  |
| ** See Section 2D Item 14 and footnote **. *** See Section 2D Item 19 and footnote ***. |  |  |  |  |  |  |  |  |  |  |  |  |