| # Part 4 Individual Surgeries |  |
| --- | --- |
| This part to be photocopied for the appropriate number of surgeries in the practice |  |
| Practice/clinic name: |  |
| Surgery Number: |  |
| Type of Surgery; Dentist; Hygienist; Hygienist-therapist; Training surgery; Other (state below). |

| A. General |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Yes |  | No |  | N/A |  | Information Source | Comments |
| 1 | A | Premises well maintained and clean with running hot water…… |  |  |  |  |  |  | PSM Health and Safety |  |
| 2 | A | Room size and layout adequate for purpose (minimum of 9 square metres)………………………………………………………. |  |  |  |  |  |  |  |  |
| 3 | A | Good Lighting……………………………………………………….. |  |  |  |  |  |  |  |  |
| 4 | A | Good ventilation…………………………………………………….. |  |  |  |  |  |  |  |  |

| B. Suction |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Yes |  | No |  | N/A |  | Information Source | Comments |
| 1 | A | Adequate venting of suction system:……………………………… |  |  |  |  |  |  | PSM Health and Safety |  |
| 2 | I | - preferably exhaust air is vented outside the building or...... |  |  |  |  |  |  |  |  |
| 3 | I | - mechanical ventilation (extract fan) in surgery or …………. |  |  |  |  |  |  |  |  |
| 4 | I | - bacterial filter including activated carbon filter (regularly replaced in accordance with the manufacturer’s instructions)…………………………………………………..... |  |  |  |  |  |  |  |  |

| C. Unit/Chair |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Yes |  | No |  | N/A |  | Information Source | Comments |
| 1 | A | Access in emergency………………………………………………. |  |  |  |  |  |  | PSM Health and Safety |  |
| 2 | A | Unit free of risk to patients or staff………………………………… |  |  |  |  |  |  |  |  |
| 3 | A | Adequate fixed equipment in good repair, including fully reclinable chair that is upholstered with water-resistant material with no tears or cracks…………………………………… |  |  |  |  |  |  |  |  |

| D. Cabinets/Work Surfaces |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Yes |  | No |  | N/A |  | Information Source | Comments |
|  |  | Work surfaces are: |  |  |  |  |  |  | SDCEP Decontamination into Practice guidance |  |
| 1 | A | - clean, dry, uncluttered………………………………………… |  |  |  |  |  |  |  |  |
| 2 | A | - smooth, impervious with sealed edges without gaps………. |  |  |  |  |  |  |  |  |
| 3 | A | Satisfactory number and arrangement of sinks…………………. |  |  |  |  |  |  |  |  |
| 4 | A | Cabinetry adequate for 4-handed dentistry……………………… |  |  |  |  |  |  |  |  |

| E. Floor Coverings |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Yes |  | No |  | N/A |  | Information Source | Comments |
| 1 | A | Non-porous floor covering, without gaps and with sealed edges, throughout the clinical areas……………………………… |  |  |  |  |  |  | SDCEP Decontamination into Practice guidance |  |

| F. Amalgam Mixing |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Yes |  | No |  | N/A |  | Information Source | Comments |
| 1 | A | Machine for mixing pre-dosed encapsulated* amalgam |  |  |  |  |  |  |  |  |
| 2 | A | - on aluminium foiled tray………………………………………. |  |  |  |  |  |  | PSM Health and Safety |  |
| 3 | A | - with mixing chamber cover in use…………………………… |  |  |  |  |  |  |  |  |
| 3 | A | Spillage kit available………………………………………………… |  |  |  |  |  |  |  |  |
| 4 | A | Amalgam separation system in place*……………………………. |  |  |  |  |  |  |  |  |
| 5 | A | Suitable storage of waste amalgam………………………………. |  |  |  |  |  |  |  |  |
| * In accordance with Regulation (EU) 2017/852 on Mercury |  |  |  |  |  |  |  |  |  |  |

| G. Radiology See also Part 2 Sections 2F Radiation Protection (Documentation and Certification); 3D Radiation (Processes) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1G. X-ray Machine |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Yes |  | No |  | N/A |  | Information Source | Comments |
| 1 | A | X-ray machine present…………………………………………...... |  |  |  |  |  |  | PSM Radiation Protection |  |
| 2 | A | Record X-ray machine serial number: ____________________ |  |  |  |  |  |  |  |  |
| 3 | A | Film speed used in radiology is E speed or faster (digital assumed to be faster)………………………………………………. |  |  |  |  |  |  |  |  |
| 4 | A | Film-holding beam-aiming devices……………………………….. |  |  |  |  |  |  |  |  |

| 2G. Radiation Protection |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Yes |  | No |  | N/A |  | Information Source | Comments |
| 1 | A | Controlled area designated with suitable and sufficient signs if required in place, in accordance with IRR17*…………………… |  |  |  |  |  |  |  |  |
| 2 | A | Rectangular collimation used……………………………………… |  |  |  |  |  |  |  |  |
| 3 | A | All persons not undergoing X-ray examination outside controlled area………………………………………………………. |  |  |  |  |  |  |  |  |
| 4 | A | Adequate protection for all persons in building………………….. |  |  |  |  |  |  |  |  |
| * The Ionising Radiations Regulations 2017 enforced by HSE & HSE(NI) |  |  |  |  |  |  |  |  |  |  |

| H. Infection Control See also Part 2, Sections 2H & 2I Infection Control (Documentation and Certification); 3E Decontamination (Processes); Part 3 Decontamination Observation |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1H. Instruments and Equipment (Single-use Items) |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Yes |  | No |  | N/A |  | Information Source | Comments |
|  |  | Disposed of after every patient visit: |  |  |  |  |  |  | SDCEP Decontamination into Practice guidance |  |
| 1 | A | - 3-in-1 tips………………………………………………………. |  |  |  |  |  |  |  |  |
| 2 | A | - Aspirator tips (if single use)…………………………………… |  |  |  |  |  |  |  |  |
| 3 | A | - Saliva ejectors…………………………………………………. |  |  |  |  |  |  |  |  |
| 4 | A | - Matrix bands…………………………………………………… |  |  |  |  |  |  |  |  |
| 5 | A | - Mouthwash cups………………………………………………. |  |  |  |  |  |  |  |  |
| 6 | A | - Endodontic files……………………....................................... |  |  |  |  |  |  |  |  |
| 7 | A | - Stainless steel burs……………………………………………. |  |  |  |  |  |  |  |  |
| 8 | A | - Polishing cups/brushes……………………………………..... |  |  |  |  |  |  |  |  |
| 9 | A | - Impression trays……………………………………………….. |  |  |  |  |  |  |  |  |
| 10 | A | - All other items marked ‘single-use’………………………….. |  |  |  |  |  |  |  |  |

| 2H. Instruments and Equipment (all items that are not Single-use) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Yes |  | No |  | N/A |  | Information Source | Comments |
| 1 | A | Sterilized instruments stored in closed trays or sealed bags…... |  |  |  |  |  |  | SDCEP Decontamination into Practice guidance Scottish Dental website |  |
| 2 | A | Extraction forceps and surgical instruments bagged……….…… |  |  |  |  |  |  |  |  |
| 3 | A | Impressions disinfected by immersion in appropriate solution (check with manufacturer of impression material)………………. |  |  |  |  |  |  |  |  |

| 3H. Waterlines |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Yes |  | No |  | N/A |  | Information Source | Comments |
| 1 | A | Waterlines flushed after each patient…………………………….. |  |  |  |  |  |  | PSM H&S Infection Control (in development) |  |
| 2 | A | Biocidal used to flush waterlines (record details on page 45)….. |  |  |  |  |  |  |  |  |
| 3 | A | If unit requires bolt-on bottled water, bottle is retrofitted……….. |  |  |  |  |  |  |  |  |

| 4H. Personal Protective Equipment |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Yes |  | No |  | N/A |  | Information Source | Comments |
|  |  | Suitable protective clothing for dentists and staff: |  |  |  |  |  |  | SDCEP Decontamination into Practice guidance PSM Health and Safety |  |
| 1 | A | - eye protection………………....….……………………………. |  |  |  |  |  |  |  |  |
| 2 | A | - masks/visors……………………........................................... |  |  |  |  |  |  |  |  |
| 3 | A | - disposable gloves…………………....................................... |  |  |  |  |  |  |  |  |
| 4 |  | unallocated |  |  |  |  |  |  |  |  |
| 5 |  | unallocated |  |  |  |  |  |  |  |  |
|  |  | Fresh disposable gloves worn for each patient by: |  |  |  |  |  |  |  |  |
| 6 | A | - dentist………………………………………………………….... |  |  |  |  |  |  |  |  |
| 7 | A | - dental nurse……………………………………………………. |  |  |  |  |  |  |  |  |
|  |  | Suitable protection for patients: |  |  |  |  |  |  |  |  |
| 8 | A | - eye protection………………………………………………...... |  |  |  |  |  |  |  |  |
| 9 | A | - bibs……………………………………………………………… |  |  |  |  |  |  |  |  |
| 10 | A | - System for safe use and disposal of sharps………………... |  |  |  |  |  |  | PSM H&S Infection Control |  |

| 5H. Products |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Yes |  | No |  | N/A |  | Information Source | Comments |
| 1 | A | Appropriate hand hygiene products including plain liquid soap and alcohol based rubs/gels should be available at all hand hygiene sinks in clinical areas (surgeries and LDUs).………….. |  |  |  |  |  |  | SDCEP Decontamination into Practice guidance |  |
| 2 | A | Suitable environmental cleaning products such as impregnated wipes (not sprays) must be available and used in all clinical areas………………………………..……………………. |  |  |  |  |  |  |  |  |

| 6H. Waste See also Part 2, Section 2D Waste Management (Documentation and Certification) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Yes |  | No |  | N/A |  | Information Source | Comments |
| 1 | A | Suitably located disposal containers for segregated waste….…. |  |  |  |  |  |  | PSM Health and Safety |  |

Section I - unallocated

| Section J Instruments and Equipment |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1J. Hand and Rotary Instruments |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Yes |  | No |  | N/A |  | Information Source | Comments |
|  |  | Adequate and appropriate instruments for: |  |  |  |  |  |  |  |  |
| 1 | A | - examination…………………………………………………….. |  |  |  |  |  |  |  |  |
| 2 | A | - routine conservation…………………….…………………….. |  |  |  |  |  |  |  |  |
| 3 | A | - endodontics*……………………………..…………………….. |  |  |  |  |  |  |  |  |
| 4 | A | - periodontics…………………………………………………….. |  |  |  |  |  |  |  |  |
| 5 | A | - oral surgery*……………………………..…………………….. |  |  |  |  |  |  |  |  |
| 6 | A | - prosthetics*……………………………….……………………. |  |  |  |  |  |  |  |  |
| 7 | A | - orthodontics*……………………………..…………………….. |  |  |  |  |  |  |  |  |
| 8 | A | - crowns and bridges*…………………….…………………….. |  |  |  |  |  |  |  |  |
|  |  | Number of: |  |  |  |  |  |  |  |  |
| 9 | A | - high speed _____________________________________ |  |  |  |  |  |  |  |  |
| 10 | A | - slow speed _____________________________________ |  |  |  |  |  |  |  |  |
| 11 | A | - straights _______________________________________ |  |  |  |  |  |  |  |  |
| 12 | A | - scaler tips ______________________________________ |  |  |  |  |  |  |  |  |
|  |  | - scaler barrels ___________________________________ |  |  |  |  |  |  |  |  |
| 13 | A | Adequate sets of burs (dependent on patient throughput)…….. |  |  |  |  |  |  |  |  |
| *Not relevant to H/T/HT surgery. |  |  |  |  |  |  |  |  |  |  |

| 2J. Other Equipment |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Yes |  | No |  | N/A |  | Information Source | Comments |
| 1 | A | Pocket mask available in every surgery………………………….. |  |  |  |  |  |  |  |  |
| 2 | A | Aspirating syringes in routine use…………………………………. |  |  |  |  |  |  |  |  |
| 3 | A | Rubber dam kit………………………………………………………. |  |  |  |  |  |  |  |  |
| 4 | A | Appropriate means of viewing X-rays in surgery………………… |  |  |  |  |  |  |  |  |
| 5 | A | Light curing unit……………………………………………………… |  |  |  |  |  |  |  |  |